# Electrophoresis of Total Proteins

## 1. Objective

This practical work aims to:

- Understand the principle of protein electrophoresis.

- Separate total proteins according to their molecular weight and electrical charge.

- Visualize protein bands after staining.

- Analyze protein profiles and compare different samples.

- Become familiar with electrophoretic techniques commonly used in biochemistry and molecular biology.

## 2. Principle

Protein electrophoresis is an analytical technique used to separate proteins in an electric field. Under the influence of an electric current, proteins migrate through a gel matrix at different rates depending on their molecular weight, shape, and charge.

In Sodium Dodecyl Sulfate Polyacrylamide Gel Electrophoresis (SDS-PAGE), proteins are denatured and coated with SDS, which gives them a uniform negative charge. Consequently, separation occurs mainly according to molecular weight.

After migration, proteins are stained to reveal distinct bands corresponding to different protein fractions.

## 3. Materials

### Biological Material

- Protein extract (plant, animal, or microbial sample)

### Equipment

- Electrophoresis apparatus

- Power supply

- Micropipettes and tips

- Water bath

- Gel casting system

- Staining tray

### Reagents

- Polyacrylamide gel

- SDS sample buffer

- Running buffer

- Protein molecular weight marker

- Coomassie Brilliant Blue staining solution

- Destaining solution

- Distilled water

## 4. Experimental Procedure

### 4.1 Preparation of Samples

- Extract total proteins from the biological material.

- Determine protein concentration if required.

- Mix protein extracts with SDS sample buffer.

- Heat the samples at 95°C for 5 minutes to denature proteins.

### 4.2 Preparation of the Gel

- Prepare the resolving gel and stacking gel according to the protocol.

- Assemble the electrophoresis apparatus.

- Fill the electrophoresis tank with running buffer.

### 4.3 Loading and Migration

- Load the molecular weight marker into the first well.

- Load equal volumes of protein samples into the remaining wells.

- Connect the apparatus to the power supply.

- Run the electrophoresis at 80–120 V until the tracking dye reaches the bottom of the gel.

### 4.4 Staining and Visualization

- Remove the gel carefully.

- Immerse the gel in Coomassie Brilliant Blue staining solution for 30–60 minutes.

- Destain the gel until protein bands become clearly visible.

- Record the electrophoretic profile.

## 5. Results

### Table 1. Sample Loading Scheme

| Lane | Sample |
| --- | --- |
| M | Molecular Weight Marker |
| 1 | Protein Sample 1 |
| 2 | Protein Sample 2 |
| 3 | Protein Sample 3 |
| 4 | Protein Sample 4 |

### Table 2. Observed Protein Bands

| Lane | Number of Bands | Estimated Molecular Weight (kDa) |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |

### Electrophoretic Profile (Example)

| Lane | Observation |
| --- | --- |
| Marker | Reference bands of known molecular weights |
| Sample 1 | Several distinct protein bands |
| Sample 2 | Different band intensity and distribution |
| Sample 3 | Presence of specific proteins |
| Sample 4 | Similar or different protein profile |

## 6. Data Analysis

- Count the number of protein bands observed in each lane.

- Compare the migration distances of proteins.

- Estimate molecular weights using the protein marker.

- Compare protein profiles among samples.

- Identify similarities and differences between samples.

## 7. Conclusion

Electrophoresis is an effective method for separating and analyzing total proteins. The technique enables the visualization of protein profiles and provides valuable information regarding protein composition and molecular weight. It remains one of the most important analytical tools in biological sciences.